## Hmi Tags
Name | PLC tag | DataType
Tag_ScreenNumber | <No Value> | UInt
Start_from_HMI | Start_from_HMI | Bool
Stop_from_HMI | Stop_from_HMI | Bool
Reset_from_HMI | Reset_from_HMI | Bool
Start_Light | Start_Light | Bool
Stop_Light | Stop_Light | Bool
Reset_Light | Reset_Light | Bool
PV_display | PV_display | Word
Setpoint_display | Setpoint_display | Word
Set_point | Set_point | Word
Switch | Switch | Bool
Set_form_HMI | Set_form_HMI | Word
Process_value | Process_value | Real
Setpoint_value | Setpoint_value | Real
High_level_threshold | High_level_threshold | Real
Low_level_threshold | Low_level_threshold | Real
Level_error_margin | Level_error_margin | Real
Digital alarms | "Digital alarms" | Word

## Multiplexing
HMI Tag name | Multiplex Tag | Index